## SECTION 12 2000

### SPECIFICATION FOR AUTOMATED MOTORIZED SHADES

#### PART  NO. 1		GENERAL

1.1	SECTION INCLUDES

- Manually operated sunscreen roller shades.

- Manually operated room-darkening shades.

- Manually operated double-roller sunscreen and room darkening shades.

- Electrically operated sunscreen roller shades.

- Electrically operated darkening shades.

- Electrically operated double-roller sunscreen and room darkening shades.

  - RELATED SECTIONS

- Section 06100 – Rough Carpentry:  Wood blocking and grounds for mounting

roller shades and accessories.

- Section 09260 – Gypsum Board Assemblies:  Coordination with gypsum board

Assemblies for installation of shade pockets, closures and related accessories.

- Section 09510 – Acoustical Ceilings:  Coordination with acoustical ceiling systems for installation of shade pockets, closures and related accessories.

- Section 095213 – Axiom Building Perimeter Pocket

- Division 16 – Electrical:  Electric service for motor controls.

1.3      REFERENCES

A.	ASTM G 21, G 22, G 2180 – Standard Practice for Determining Resistance of             Synthetic Polymeric Materials to Fungi.

- NFPA 70 – National Electric Code.

- NFPA 701-99- Fire Tests for Flame-Resistant Textiles

D.	Lead Free:  RoHS/Directive 2002/95/ED, US Consumer Product Safety Commission Section 101, ANSI/WCMA A100.1-2007 and REACH (EC 1907/2006)

SUBMITTALS

- Submit under provisions of Section 01300.

- Submit Environmental Certification and Third Party Evaluation per Section 1.5 Qualifications.

- Product Data:  Manufacturer’s data sheets on each product to be used, including, but not limited to the following:

  - Preparation instructions and recommendations.

  - Styles, material descriptions, dimensions of individual components, profiles, features, finishes and operating instructions.

  - Storage and handing requirements and recommendations.

  - Mounting details and installation methods

  - Typical wiring diagrams including electrical connections.

- Shop Drawings:  Plans, elevations, sections, product details, installation details, operational clearances, wiring diagrams and relationship to adjacent work.

  - Prepare shop drawings on AutoCAD format using base sheets provided electronically by the Architect.

  - Prepare shop drawings on Micro station format using base sheets provided electronically by the Architect.

- Window Treatment Schedule:  For all roller shades.  Use same room designations as indicated on the Drawings and include opening sizes and key to typical mounting details.

- Selection Samples: For each finish product specified, one set of shade cloth options and aluminum finish color samples representing manufacturer’s full range of available colors and patterns.

- Verification Samples:  For each product specified, one complete set of shade components, unassembled, demonstrating compliance with specified requirements.  Shade cloth sample and aluminum finish sample as selected.  Mark surface of material to indicate interior surface.

  - QUALITY ASSURANCE

- Manufacturer Qualifications:  Obtain roller shades through one source from a     single manufacturer with a minimum of twenty years experience in manufacturing products comparable to those specified in this section.

- Installer Qualifications:  Installer trained and certified by the manufacturer with a minimum of ten years experience in installing products comparable to those specified in the section.

- Fire-Test-Response Characteristics:  Passes NFPA 701-99 small and large-scale vertical burn.  Materials tested shall be identical to products proposed for use.

- Electrical Components:  NFPA Article 100 listed and labeled by either UL and/or ETL or other testing agency acceptable to authorities having jurisdiction, marked for intended use and tested as a system.  Individual testing of components will not be acceptable in lieu of system testing.

- Anti-Microbial Characteristics:  “No Growth” per ASTM G 21, G 22, G 2180 results for fungi ATCC9642, ATCC 9644, ATCC 9645.

- Environmental Certification:  Submit written certification from the manufacturer, including third party evaluation, recycling characteristics and perpetual use certification as specified below.  Initial submittals, which do not include the Environmental Certification. Below will be rejected.  Materials that are simply ‘PVC free’ without identifying their inputs shall not qualify as meeting the intent of the specification and shall be rejected.

- Third Party Evaluation:  Provide documentation stating the shade cloth has undergone third party evaluation of all chemical inputs, down to a scale of 100 parts per million, that have been evaluated for human and environmental safety.  Identify any and all inputs, which are known to be carcinogenic, mutagenic, teratogenic, reproductively toxic, or endocrine disrupting.  Also identify items that are toxic to aquatic systems, contain heavy metals, or organ halogens.  The material shall contain no inputs that are known problems to human or environmental health per the above criteria, except for an input that is required to meet local fire codes.

- Recycling Characteristics:  Provide documentation that the shade cloth can and is part of a closed loop of perpetual use and not be required to be down cycled, incinerated or otherwise thrown away.  Scrap material can be sent back to the mill for reprocessing and recycled into the same quality yarn and woven into new material, with out down cycling.  Certify that this process is currently underway and will be utilized for this project.

- Perpetual Use Certification:  Certify that at the end of the useful life of the shade cloth, that the material can be sent back to the manufacturer for recapture as part of a closed loop of perpetual use and that the material can and will be reconstituted into new yarn for weaving into new shade cloth.  Provide information on each shade band indicating that the shade band can be sent back to the manufacturer for this purpose.

- Mock-Up:  Provide a mock-up of one roller shade assembly for evaluation of

mounting, appearance and accessories.

  - Locate mock-up window designated by Architect.

2.	Do not proceed with remaining work until, mock-up is accepted by Architect

## Safety Standards:  The scope of ANSI/WCMA A100.1-2010

  - DELIVERY, STORAGE, AND HANDLING

- Deliver shades in factory-labeled packages, marked with manufacturer and product name, fire-test-response characteristics, and location of installation using same room designations indicated on Drawings and in the Window Treatment Schedule.

  - PROJECT CONDITIONS

- Environmental Limitations:  Install roller shades after finish work including painting is complete.

  - WARRANTY

A.	Roller Shade Hardware :  Manufacturer’s standard non-depreciating twenty-five (25) year limited warranty. Chain to have manufacturer’s standard non-depreciating one (1) year limited warranty.

- Roller Shade Motors and Motor Control Systems:  Manufacturer’s standard non-

depreciating five (5) year warranty.

- Roller Shade Installation: One (1) year from date of Substantial Completion, not

including scaffolding, lifts or other means to reach inaccessible areas.

- Roller Shade Fabric: Manufacturer’s standard non-depreciating ten (10) year limited warranty on most fabrics. See Fabric Specification for specific fabric warranty.

#### PART  NO. 2		 PRODUCTS

  - MANUFACTURERS

- Basis of design:  Automated Motorized Shades; 3117 NW 25th Ave

- Pompano Beach, FL. 33069

Tel (954) 974-0525; Fax (954) 974-0529;

E-Mail: info@amsshades.com, www.amsshades.com

Estimator: Marty Rakitin marty.rakitin@amsshades.com

(954) 974-5077 x305

- Substitutions:  Subject to review.

2.2         APPLICATIONS / SCOPE

- Roller Shade Schedule:

  - Shade Type No. 1:

Manual operating interior, chain drive, sunscreen roller shades in all windows of rooms and spaces shown on the Drawings.

2.	Shade Type No. 2:

Manual operating interior, chain drive, darkening roller shades with blackout fabric in all windows of rooms and spaces shown on Drawings and related mounting systems and accessories.

3.	Shade Type No. 3:

Manual operating interior, chain driven dual shade sunscreen and room darkening blackout roller shades, operating independently of each other, in all windows of rooms and spaces shown on the Drawings and related mounting systems and accessories.

4.	Shade Type No. 4:

Motorized interior sun screen roller shades in all windows of rooms and spaces shown on the Drawings, and related motor control systems.

5.	Shade Type No. 5:

Motorized interior room darkening roller shades with blackout fabric in all windows of rooms and spaces shown on the Drawings and related motor control systems.

6.	Shade Type No. 6:

Motorized interior dual shade sunscreen and room darkening blackout roller shades, operating independently of each other, in all windows of rooms and spaces shown on the Drawings, and related motor control systems.

  - Shade Type No. 7:

Stationary Shades in all windows of rooms and spaces shown on the Drawings.

  - Shade Type No. 8:

Pleated Stationary Shades in all windows of rooms and spaces shown on the Drawings.

  - SHADE CLOTH:

Insert desired fabric from “Automated Motorized Shades’ Fabric Specification” below

- Visually Transparent Single-Fabric Shade Cloth:

- Vinyl Room Darkening Single-Fabric Shade Cloth:

- Room Darkening Shade Cloth with Opaque Acrylic Backing:

- Environmentally Certified Shade Cloth:

2.4         SHADE BAND

A.	Shade Bands:  Construction of shade band includes the fabric, the hem weight, hem-pocket and/or bottom rail with end caps, shade roller tube and the attachment of the shade band to the roller tube.  Sewn hems and open hem packets are not acceptable.

1.	Hem Pockets and Hem Weights:  Fabric hem pocket with impulse-welded seams (including welded ends) and concealed hem weights.  Hem weights shall be of appropriate size and weight for shade band.  Hem weight shall be continuous inside a sealed hem pocket.  Hem pocket construction and hem weights shall be similar, for all shades within one room and/or adjacent space.

  - Bottom Rails and End Caps:  Bottom rail is 0.625 inch diameter with 0.625 inch diameter end caps.  Plastic end caps are available in black and white.

3.	Shade Band and Shade Roller Attachment:

a.	Use extruded aluminum shade roller tube of a diameter and wall thickness required to support shade fabric without excessive deflection.

b.	Provide for positive attachment of shade band to roller tube

2.5	SHADE FABRICATION

- Fabricate units to completely fill existing openings from head to sill and jamb to jamb, unless specifically indicated otherwise.

- Product Safety Standard: Fabricate roller shades to comply with WCMA A 100.1, including requirements for lead content of components; and warning labels.

C.	Fabricate shade cloth to hang flat without buckling or distortion.  Fabricate with polyester heat sealed trim and fiberglass crust cut to hang straight without curling or raveling.  Fabricate unguided shade cloth to roll true and straight without shifting sideways more than 1/8 inch (3.18 mm) in either direction per eight (8) feet (2438 mm) of shade height due to wrap distortion or weave design.

Fabricate hem as follows:

1.		Concealed Hembar

2.	Exposed bottom rail

D.		Provide battens in standard shades as required to assure proper tracking and uniform rolling of the shade bands.  Contractor shall be responsible for assuring the width-to-height (W:H) ratios shall not exceed manufacturer’s standards or, in absence of such standards, shall be responsible for establishing appropriate standards to assure proper tracking and rolling of the shade cloth within specified standards.  Battens shall be extruded aluminum.

E.	        For Railroad shade bands, provide seams in railroaded multi-width shade bands as required to meet size requirements and in accordance with seam alignment as acceptable to Architect.  Seams shall be properly located.  Furnish battens in place of plain seams when the width height, or weight of the shade exceeds manufacturer’s standards.  In absence of such standards, assure proper use of seams or battens as required to assure the proper tracking of the railroaded multi-width shade bands.

F.	Provide battens for railroaded shades when width width-to-height (W:H) ratios meet or exceed manufacturer’s standards.  In absence of manufacturer’s standards, the contractor shall be responsible for proper use and placement of battens to assure proper tracking and roll of shade bands.

G.	Blackout shade bands, when used in side channels, shall have horizontally mounted extruded aluminum battens not more than three (3) feet (115 mm) on center extending fully into the side channels.  Battens shall be concealed in a integrally-colored fabric to match the inside and outside colors of the shade band, in accordance with manufacturer’s published standards for spacing and requirements.

1.	Battens shall be roll formed of extruded aluminum and concave to match the contour of the roller tube.

2.	Batten pockets shall be self colored fabric front and back RF welded into the shade cloth.  A self color opaque liner shall be provided front and back to eliminate any see through of the batten pocket that shall not exceed one and one-half (1 1/2) inches (38.1 mm) high and be totally opaque.  A see through moiré effect, which occurs with multiple layers of transparent fabrics, shall not be acceptable.

2.6       COMPONENTS

A.	Access and Material Requirements

1.	Provide shade hardware allowing for the removal of shade roller tube from brackets without removing hardware from opening .

B.	Motorized Shade Hardware and Shade Brackets:

  - Provide shade hardware constructed of minimum one sixteenth (1/16) inch (1.59mm), thick plated steel, or heavier, thicker, as required.

2.	Provide shade hardware system that allows for field adjustment of motor or replacement of any operable hardware component without requiring removal of brackets, regardless of mounting position (inside and/or outside mount)

C.	Manual Operated Chain Drive Hardware and Shade Brackets:

1.	Provide hardware capable for installation of a removable fascia, which shall be installed without exposed fastening devices of any kind.

2.	Provide shade hardware system that allows for fascias to be mounted continuously across two or more shade bands without

requiring exposed fasteners of any kind.

3.	Provide shade hardware system that allows for operation of multiple shade bands (multi-banded shades) by a single chain operator, subject to manufacturer’s design criteria.  Link drives shall be adjustable to assure alignment from the first to the last shade band.

4.	Shade bands shall be adjustable without removing shade roller tube or hardware from window.

5.	Splined shade roller tube must be used to provide positive engagement with drive mechanism.  Smooth wall tube not permitted.

6.	Provide shade hardware constructed of minimum one sixteenth (1/16”) (1.59mm) thick plated steel, or heavier as required.

7.	Bracket shall be fully integrated with all accessories, including,

but not limited to fascia, room darkening side / sill channels, and connectors for multi-banded shades.

D.	Drive Mechanism:

1.	Drive sprocket and brake assembly shall have a minimum of four (4) wrap springs

2.	The entire assembly shall be fully mounted on the steel support bracket, which may be removed and reinstalled without effecting the roller shade limit adjustments.

3.	Drive Chain requirements:

a.	#10 qualified stainless steel chain rated to 90 lbs (41 kg) minimum breaking strength.  Nickel plate chain shall not be accepted.

    - Tension device shall be installed on shade using a device that when not installed properly renders the shade partially inoperable.

  - Drive mechanism shall be per manufacturer’s recommendations.

2.7	SHADE MOTOR DRIVE SYSTEM

- Shade Motors:

      - Tubular, asynchronous (non-synchronous) motors, with built-in reversible capacitor operating at 110v AC (60 hz), temperature Class A, thermally protected, totally enclosed, maintenance free with line voltage power supply

2.	Conceal motors inside shade roller tube.

3.	Maximum current draw for each shade motor of 2.3 amps.

4.	Use motors rated at the same nominal speed for all shades in the same room.

- Total hanging weight of shade band shall not exceed 80 percent of the rated lifting capacity of the shade motor and tube assembly.

2.8	ACCESSORIES

A.	Fascia:

1.	Continuous removable extruded aluminum fascia that attaches to shade                mounting brackets without the use of adhesives, magnetic strips, or exposed fasteners.

2.	Fascia shall be able to be installed across two (2) or more shade bands in one (1) piece.

3.	Fascia shall fully conceal brackets, shade roller and fabric on the tube.

4.	Provide bracket / fascia end caps where mounting conditions expose outside of roller shade brackets.

5.	Fascia to match specified pantone color system.

6.	3 inch top fascia to conceal top and front of shade roller and fabric on tube.

B.	Roller Shade Pocket for recessed mounting in acoustical tile, or drywall ceilings as indicated on the Drawings and Division 09 52 13:

1.	Provide Armstrong axiom shade pocket, sized to accommodate roller shades with concealed aluminum closure mount, to provide access to shades.

C.	Room Darkening Side and / or Sill Channels:

1.	Extruded aluminum two piece channel with concealed fastening.  Exposed fasting is not acceptable.  Channels shall accept one-piece exposed blackout hembar with vinyl seal to assure side light control and sill light control.

a.	Side channels shall be 2-3/8” (60.3mm) wide by 1”

(25.4 mm) deep.

b.	Color:  Selected from manufacturer’s standard colors.

c.	Color:  Custom color as selected by Architect, to match pantone color system.

#### PART  NO. 3		EXECUTION

3.1	EXAMINATION

A.	Do not begin installation until substrates have been property prepared.

B.	If substrate preparation is the responsibility of another installer, notify Architect/Contractor of any unsatisfactory preparation before proceeding.

3.2	PREPARATION

A.	Contractor shall clean surfaces thoroughly prior to installation.

B.	Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

3.3	INSTALLATION

A.	Install roller shades level, plumb, and true according to manufacturer’s written instructions.  Allow proper clearances for window operation hardware.

B.	Contractor shall provide power panels and circuits of sufficient size to

accommodate roller shade manufacturer’s requirements.

1.	Contractor shall coordinate with requirements of roller shade installer / dealer, before inaccessible areas are constructed.

2.	Contractor shall run line voltage as indicated home runs (of sufficient quantity and sufficient capacity as required) terminating in junction boxes in locations designated by roller shade dealer.

- Adjust and balance roller shades to operate smoothly, easily and free from binding or

D.	Clean roller shade surfaces after installation, according to manufacturers written

instructions.

E.	Engage installer to train Owner’s maintenance personnel to adjust, operate and maintain Roller shade systems.

3.4	PROTECTION

A.	Protect installed products until completion of project.

B.	Touch-up repair and/or replace any damaged products before Substantial Completion.

END OF SECTION