SECTION 09 52 13

**AXIOM BUILDING PERIMETER SYSTEM**

**PART 1 - GENERAL**

**1.1 RELATED DOCUMENTS**

Drawings and general conditions of Contract, including General and Supplementary Conditions and Divisions-1 Specification sections apply to work of this section.

**1.2 SUMMARY**

A. Section Includes:

1. Pre-engineered perimeter transition system

B. Related Sections:

1. Section 08 44 00 – Curtain Wall and Glazed Assemblies
2. Section 09 51 00 (09510) – Acoustical Ceilings
3. Section 09 20 00 (09250) – Plaster and Gypsum Board
4. **Division 12 – Specialties – Roll-up Shades**

**1.3 REFERENCES**

A. American Society for Testing and Materials (ASTM):

1. ASTM C 635 Standard Specification for Metal Suspension Systems for Acoustical Tile and Lay-in Panel Ceilings.
2. ASTM C 636 Recommended Practice for Installation of Metal Ceiling Suspension Systems for Acoustical Tile and Lay-in Panels.

B. American National Standards Institute (ANSI)

1. ANSI H35.1 Properties and Characteristics of Wrought Aluminum Alloys

**1.4 SUBMITTALS**

A. Product Data: Submit manufacturer’s technical data for perimeter components and each type of suspension system required.

B. Samples: Minimum 3 inch wide samples of specified component.

C. Shop Drawings: Layout and details of acoustical ceilings. Show locations of items that are to be coordinated with, or supported by the ceilings.

**1.5 QUALITY ASSURANCE**

A. Coordination of Work: Coordinate acoustical ceiling work with installers of related work including, but not limited to building insulation, gypsum board, light fixtures, mechanical systems, electrical systems, and sprinklers.

**1.6 DELIVERY, STORAGE, AND HANDLING**

A. Deliver shade pocket components to project site in original, unopened packages and store them in a fully enclosed space where they will be protected against damage from moisture, direct sunlight, surface contamination, and other causes.

B. Handle components carefully to avoid damage.

**1.7 WARRANTY**

A. Axiom Building Perimeter Pocket: Submit a written warranty executed by the manufacturer, agreeing to repair or replace components that fail within the warranty period. Failures include, but are not limited to:

1. Rusting and manufacturer’s defects

B. Warranty Period:

1. Perimeter Transition Components: Ten (10) years from date of substantial completion.

C. The Warranty shall not deprive the Owner of other rights the Owner may have under other provisions of the Contract Documents and will be in addition to and run concurrent with other warranties made by the Contractor under the requirements of the Contract Documents.

**PART 2 - PRODUCTS**

**2.1 MANUFACTURERS**

A. Axiom Building Perimeter Pocket:

1. Armstrong World Industries, Inc.

**2.2 AXIOM BUILDING PERIMETER POCKET**

A. Product/Manufacturer: Axiom Building Perimeter System; Armstrong World Industries, Inc., Tim Traber (760) 473-1108

B. System: An extruded aluminum pocket used to house Roll-A-Shade, Inc. roller shades along the perimeter of the ceiling. Commercial quality extruded aluminum alloy 6063 trim channel, factory finished in baked polyester paint (white) color to match intersecting grid system. Commercial quality aluminum unfinished t-bar connection clips; galvanized steel splice plates.

C. Components:

1. 3 Sided Axiom Building Perimeter Pocket: Aluminum pocket form with special bosses to accept t-bar connection clip and splice plate; factory finished to match approved samples; factory or field cut miters to match approved shop drawings.

a. AXP355S – 3 Sided Perimeter Pocket, Acoustical/Drywall Transition (5 inches x 5 inches x 5 inches)

b. AXP355SOSC – 3 Sided Perimeter Pocket, Acoustical/Drywall Transition Outside Corner (12 inches x 5 inches x 12 inches).

c. AXP355SISC - 3 Sided Perimeter Pocket, Acoustical/Drywall Transition Inside Corner (12 inches x 5 inches x 12 inches).

d. AXP355SC – 3 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece (5 inches x 5 inches x 5 inches).

e. AXP355SCOSC - 3 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece, Outside Corner (12 inches x 5 inches x 12 inches).

f. AXP355SCISC - 3 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece, Inside Corner (12 inches x 5 inches x 12 inches).

2. 2 Sided Axiom Building Perimeter Pocket: Aluminum pocket form with special bosses to accept t-bar connection clip and splice plate; factory finished to match approved samples; factory or field cut miters to match approved shop drawings.

a. AXP255S – 2 Sided Perimeter Pocket, Acoustical/Drywall Transition (5 inches x 5 inches)

b. AXP255SOSC – 2 Sided Perimeter Pocket, Acoustical/Drywall Transition Outside Corner (12 inches x 5 inches x 12 inches).

c. AXP255SISC - 2 Sided Perimeter Pocket, Acoustical/Drywall Transition Inside Corner (12 inches x 5 inches x 12 inches).

d. AXP255SC – 2 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece (5 inches x 5 inches).

e. AXP255SCOSC - 2 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece, Outside Corner (12 inches x 5 inches x 12 inches).

f. AXP255SCISC - 2 Sided Perimeter Pocket, Connection to Extension/Diffuser Piece, Inside Corner (12 inches x 5 inches x 12 inches).

3. Axiom Building Perimeter Extensions: Pre-engineered extension components to be used to create larger pockets and ceiling elevation changes. The aluminum extension component integrates with the perimeter pocket.

a. AXPEP4S – Axiom Perimeter Extension, 4 inch

b. AXPEP6S – Axiom Perimeter Extension, 6 inch

c. AXPEP8S – Axiom Perimeter Extension, 8 inch

4. Axiom Building Perimeter Diffuser Face Plates: Pre-engineered face plates to accommodate diffusing air boots supplied by others. Aluminum diffuser face plate integrates into integral hooks integrated into perimeter pocket component. Face plates integrate into acoustical ceiling seismic design, or drywall in the manner and width shown on architectural drawings.

a. AXPDFPS4 – Axiom Perimeter Diffuser Face Plate; 4 inches; un-slotted.

b. AXPDFPS4SLA – Axiom Perimeter Diffuser Face Plate; 4 inches; slotted (3/4 inch x 23 inches) - 2 slot pattern.

c. AXPDFPS4SLB – Axiom Perimeter Diffuser Face Plate; 4 inches; slotted (2-3/4 inch x 23 inches) - 1 slot pattern.

d. AXPDFPS7 – Axiom Perimeter Diffuser Face Plate; 7 inches; un-slotted.

e. AXPDFPS7SLA – Axiom Perimeter Diffuser Face Plate; 7 inches; slotted (3/4 inch x 23 inches) - 2 slot pattern.

f. AXPDFPS7SLB – Axiom Perimeter Diffuser Face Plate; 7 inches; slotted (2-3/4 inch x 23 inches) - 1 slot pattern.

g. AXPDFP4DT – Axiom Perimeter Diffuser Face Plate Drywall Transition; 4 inches; un-slotted.

h. AXPDFP4DTSLA – Axiom Perimeter Diffuser Face Plate Drywall Transition; 4 inches; slotted (3/4 inch x 23 inches) - 2 slot pattern.

i. AXPDFP4DTSLB – Axiom Perimeter Diffuser Face Plate Drywall Transition; 4 inches; slotted (2-3/4 inch x 23 inches) - 1 slot pattern.

j. AXPDFP7DT – Axiom Perimeter Diffuser Face Plate Drywall Transition; 7 inches; un-slotted.

k. AXPDFP7DTSLA – Axiom Perimeter Diffuser Face Plate Drywall Transition; 7 inches; slotted (3/4 inch x 23 inches) - 2 slot pattern.

l. AXPDFP7DTSLB – Axiom Perimeter Diffuser Face Plate; 7 inches; slotted (2-3/4 inch x 23 inches) - 1 slot pattern.

5. Axiom Building Perimeter Closure Clips: Aluminum clip to conceal pocket when shade or blind is installed.

a. AXPCC2 – Axiom Building Perimeter Closure Clip – 2 inch

b. AXPCC3 – Axiom Building Perimeter Closure Clip – 3 inch

1. Axiom Bottom Drywall Trim, AXBTSTR, (for 5/8 inch drywall): aluminum extrusions formed to provide taping flange for drywall finish.
2. Axiom Building Perimeter End Plate, AXCPCI: caps end of perimeter pocket.
3. T-bar Connector Clip: galvanized steel, unfinished, used to attach channel trim to suspension members.
   1. ACCLTS – for use in seismic installations with drywall, lay-in, tegular, concealed tile, and full-size Vector installations.
   2. AXVTBC – for use with cut Vector panels
4. Splice Clips: splice with set screws, galvanized steel, unfinished, used to attach joints between sections of trim.
   1. AXSPLICE – Splice with 2 set screws, used to join corners
   2. AX4SPLICE – Splice with 4 set screws, used to join straight sections
5. Foam Gasket: 10 foot long gasket, 1/2 inch x 1/2 inch, self stick for field application, used between perimeter pocket and wall.
6. Spline, AXSPLINE: 0.175 inch diameter spline locks horizontal and vertical extension plates to box trim; helps maintain trim alignment.

**PART 3 - EXECUTION**

**3.1 EXAMINATION**

1. Do not proceed with installation until all wet work such as concrete, terrazzo, plastering and painting has been completed and thoroughly dried out, unless expressly permitted by manufacturer’s printed recommendations.

**3.2 PREPARATION**

A. Coordinate panel layout with mechanical and electrical fixtures.

**3.3 INSTALLATION**

A. Install suspension system and panels in accordance with manufacturer’s instructions, LA-297427, and in compliance with ASTM C 636 and with the authorities having jurisdiction.

**3.4 ADJUSTING AND CLEANING**

1. Clean exposed surfaces of trim, edge moldings, and suspension members. Comply with manufacturer’s instructions for cleaning and touch up of minor finish damage. Remove and replace work that cannot be successfully cleaned and repaired to permanently eliminate evidence of damage.

**END OF SECTION**